SOP - Growth of lymphoblastoid cell lines

The purpose of this protocol is to grow pre-transformed lymphocyte cells, which can then be used to obtain large amounts of pure DNA.  The DNA is then stored for multiple uses in research projects.  See ‘SOP-Reagents’ for MSDS Summaries on all chemicals used in this protocol.  See ‘Scanning and Spreadsheet Recording’ for details on using the scanner.

- Equipment:

    - Class II microbiological Safety Cabinet

    - CO2 incubator

    - Phase-contrast microscope

    - 75cm2 flasks

    - 10ml sterile serological pipettes

    - 25ml sterile serological pipettes

    - 50ml sterile centrifuge tubes

    - Automatic pipette

    - Centrifuge

    - Barcode scanner

    - Barcode labels

    - Powder free gloves

- Reagents:

    - CO 2 Gas for incubators.

    - Formaldehyde for fumigation.

    - Sodium Hypochlorite solution for disposal of used media.

    - RBS SR 80 disinfectant, or Virkon.

    - Industrial Methylated Spirit or 70% Ethanol

    - Foetal Bovine Serum (EU Origin).  Store at –20C until needed.  Thaw the 500ml container rapidly at 37C, put into 50ml aliquots, and store at -20C for 2-3 weeks maximum.  Batch test a sample of the newly thawed FBS by diluting and placing in the incubator for at least 24 hours before use.

    - RPMI 1640 Media.  Stored at 4C.

    - 200mM L-Glutamine, in 10ml aliquots, (0.146g in 10ml H2O = 100mM).  Store aliquots at –20C.  Once added to RPMI, will only last for two weeks.

    - Penicillin-Streptomycin Solution (50X), in 10ml aliquots. Store at -20C.

- Clean Room Preparation:

    - Class II Safety Cabinet should be fumigated every six months in accordance with servicing.  See cabinet SOP for instructions.

    - Cabinet should be cleaned with 70% Ethanol solution before and after use.

    - Room should be cleaned thoroughly once a week with RBS SR 80 solution.

    - Spillages must be cleaned with Sodium Hypochlorite solution.

    - To dispose of used media from vacuum flasks, add sodium hypochlorite at 10% and pour down sink.

    - Lab coats must not be worn outside the tissue culture laboratory, and should be replaced regularly.

    - Overshoes must be worn when entering the tissue culture Laboratory.

- Media Preparation:

    - 500ml of RPMI 1640, add to this the following:

    - 50ml FBS (10%).

    - 5ml of 200mM L-Glutamine (2mM).

    - For the media that is used for the back up cultures; add 10ml of Penicillin-Streptomycin solution (1 in 50).

    - Filter sterilise media when made up.  Batch test a sample of new media by placing it in the incubator for at least 24 hours before use.

    - Please note shelf life.  Made up culture media will last for two weeks

- Procedure:

    - Media must be warmed to 37oC before adding to cultures.

--Arrival--

All cell culture work should be carried out in the Class II Cabinet.  Surfaces and gloves should be sprayed with 70% Ethanol (or IMS) before beginning work.

    - All cells are despatched from ECACC in 25cm2 flasks filled with culture media

--------Transfer---------

On arrival remove the tape, and then after careful observation of the cells, transfer the samples directly to the incubator. Put standing up with the lid loosened.

    - The next day, make sure that cells are looking healthy using the microscope, transfer most of the contents of the 25cm2 flask, to a 75cm2 flask, (this should be labelled with a corresponding barcode).

    - Add 20ml of warmed culture media to the 75cm2 flask, and then put the flask on its side.

    - Lymphoblastoid cells are suspension growers and will appear as white clumps visible to the naked eye, healthy media should be orange to yellow in colour.

Feeding

Add 2-3ml of the media with Penicillin-Streptomycin to the 25cm2 flask. Continue to feed and monitor these samples, as they may be used as backups in case of failure of the main culture.

    - After this check on the cells every 3-4 days and continue to feed with ~10-20ml of media.  If cells are growing rapidly and seem densely packed, feed with 20ml of media or split between two new flasks (observe carefully for contamination).

    - If cells remain healthy for 2 weeks the final volume will be ~100ml.

---Harvesting---

The day before harvesting put the flask upright in the incubator.

    - To harvest, transfer 50ml of the flask contents to a 50ml sterile tubes (barcode labelled).  Centrifuge at 2000 rpm for 10 minutes at room temperature.

    - Siphon off the excess media with a serological pipette attached to the Vacuum system.  Then add the other 50ml, (rinse the flask with a little 1 x T.E buffer to get as many cells as possible), repeat the spin, and then drain off the media.

    - Store cell pellets at -20oC until DNA extraction.