SOP –DNA Extraction From Lymphocyte Pellets

- Reagents:

- Distilled Deionised Water (sterile)

- Proteinase K [20mg/ml]

- 100% and 70% Ethanol

- Tris-EDTA Buffer

- Solution 1

- Solution 2

- Solution 3

- (See Appendix A for solution requirements and preparation).

- (See ‘SOP – Reagents’ for instructions on making stock chemicals and MSDS summaries on all chemicals used in this protocol).

- Equipment:

    - 50ml Screw cap Tubes

    - Bottles for solution storage

    - Centrifuge

    - Ice Box

    - Whirly mixer

    - Incubator

    - Large bore Pipettes (sterile)

    - Glass Rods (sterile)

- Method:

    - Place an adequate aliquot of solution 1 and some distilled water in the fridge to cool before use.

    - Rinse in 10ml of T.E; first add 2-3ml of T.E and break up pellet with a large bore pipette, then add the other 7-8ml, and mix further.

    - Centrifuge at 2100 RPM for 10 minutes.

    - Remove supernatant by pouring gently and save pellet.

    - Add 7.5ml of solution 1, and 15ml of distilled water to yield a final volume of 25ml.

    - Mix thoroughly to disperse pellet.

    - The above stages result in cell lysis.

    - Incubate sample on ice for 2 minutes.

    - Centrifuge at 2500/3000 revs/min at 4C for 15 minutes.

    - Remove supernatant by pouring gently and save pellet.

    - Resuspend the pellet in 5.5ml of solution 2, and vortex vigorously.

    - Add 27.5ul of Proteinase K to supernatant to yield a final concentration of 100ug.

    - Incubate at 60C with shaking for 1 hour or 37C overnight.

    - Incubate on ice for 10 minutes.

    - Add 2ml of solution 3.

    - Mix by invert several times.

    - Incubate on ice for 5 minutes.

    - Centrifuge at 2000/2500 revs/min for 15 minutes at room temp.

    - The SDS in solution 2 forms a complex with the protein, which precipitates out once NaCl is added.

    - Transfer supernatant using a large bore pipette to a sterile 50ml conical tube, which is correctly labeled.  There is usually around 7.5ml of supernatant.

    - Precipitate DNA by adding two volumes of 100% ethanol to the supernatant.

    - It helps if the ethanol has been cooled prior to adding it to the supernatant.

    - Invert the tube gently until the DNA precipitates a “hair ball”.

    - This can be stored at –20C overnight if necessary.

    - Remove DNA by spooling out with a glass rod (or by centrifuging gently to leave a DNA pellet).

    - Rinse DNA on rod in 70% ethanol.  Dry by briefly touching to a kimwipe or in air.

    - Resuspend the DNA in 1ml of  Tris-EDTA buffer. Gently invert the tube.  (If there is already a DNA sample for this individual, then add the new DNA to that.)

    - Store at 4C until all the DNA has dissolved fully into the T.E, it can then be quantified.

Appendix A: Preparation of Solutions (to make up 500ml of each).  For the preparation of chemical stock solutions, see “SOP – Reagents”.

Solution 1 and 2 should be used within 2 months.

- Solution 1:	0.5M sucrose (filter sterilised)

1M Tris-Cl, pH 7.6 (sterile)

1M MgCl2 (sterile)

2% Sodium Azide (sterile)

100% Triton X-100

Sterile distilled deionised water

Sterile 500ml bottle

Preparation: 	0.32M Sucrose final concentration required (0.32/0.5 x 500 = 320ml).

10mM Tris-Cl, pH7.6 final concentration required (0.01/1 x 500 = 5ml).

5mM MgCl2 final concentration required (0.005/1 x 500 = 2.5ml).

0.02% Sodium Azide final concentration required (0.02/2 x 500 = 5ml).

1% Triton X-100 final concentration required (1/100 x 500 = 5ml).

Add water to 500ml (162.5ml)

- Solution 2:	1M Tris-Cl, pH 8

0.25M EDTA, pH 8

10% SDS

Sterile distilled water

Sterile 500ml bottle

Preparation:	50mM Tris-Cl, pH 8 final concentration required (0.05/1 x 500 = 25ml).

20mM EDTA, pH 8 final concentration required (0.02/0.25 x 500 = 40ml).

2% SDS final concentration required (2/10 x 500 = 100ml).

Add water to 500ml (335ml).

- Solution 3:	NaCl

Sterile distilled deionised water

Sterile 500ml bottle

Preparation:	Add NaCl to 300ml water, keep adding until salt comes out of solution, then top up with water to the desired volume if necessary.

For increased solution volumes:

|  | 500ml | 1L | 5L | 10L |
| --- | --- | --- | --- | --- |
| Soln 1:0.5M Sucrose | 320ml | 640ml | 3200ml | 6400ml |
| 1M Tris-Cl, pH 7.6 | 5ml | 10ml | 50ml | 100ml |
| 1M MgCl2 | 2.5ml | 5ml | 25ml | 50ml |
| 2% Sodium Azide | 5ml | 10ml | 50ml | 100ml |
| 100% Triton X-100 | 5ml | 10ml | 50ml | 100ml |
| Water | 162.5ml | 325ml | 1625ml | 3250ml |
| Soln 2:1M Tris-Cl, pH 8 | 25ml | 50ml | 250ml | 500ml |
| 0.25M EDTA, pH 8 | 40ml | 80ml | 400ml | 800ml |
| 10% SDS | 100ml | 200ml | 1000ml | 2000ml |
| Water | 335ml | 670ml | 3350ml | 6700ml |
| Soln 3:NaCl | N/A | N/A | N/A | N/A |
| Water | 300ml | 600ml | 3000ml | 6000ml |